## GEX Doc# 100-257
Technician Name: |  |  |  |  | Dosimeter Batch:
Spectophotometer ID: |  |  |  |  | Assigned Stock ID:
Instrument Calibrated?: |  |  |  |  | Quantity Received:
Wavelength(nm): |  |  |  |  | Date Received:
Date Measured: |  |  |  |  | Average Thickness(mm):
Dosimeter | Unirradiated | Current Stock | New Stock | Current Stock | New Stock | Current Stock | New Stock
Number | Absorbance (Ao) | Low Dose (kGy) | Low Dose (kGy) | Med Dose (kGy) | Med Dose (kGy) | High Dose (kGy) | High Dose (kGy)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
Min | 0 | 0 | 0 | 0 | 0 | 0 | 0
Max | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Std Dev | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C.V. (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Initial Absorbance Analysis |  | Analysis of Stock Response Comparison Data
Lies between 0.036 and 0.041? |  | New Stock Dose Average within ±2 Standard Deviations from Current Stock Dose Average?
#DIV/0! |  | + 2 stdev Test | - 2 stdev Test | + 2 stdev Test | - 2 stdev Test | + 2 stdev Test | - 2 stdev Test
Comparison Against Batch Baseline |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Baseline Value | Pass/Fail?
#DIV/0!